Calibrate Magnification
Calibrate CapiScope using an image of a calibration graticule.
Open the measurement toolbars

---
Select the Dimension line tool

---
Note the grey level of the background and the graticule

---
Start the dimension line at a grey level about halfway between the background grey level and the graticule grey level

---
Draw the line to the mid grey level point on the same edge of the furthest graticule division.

---
Enter the true length of the dimension line.
Enter a description for this calibration
Check the default box to use the calibration for future captures.